## BOM
SOLAR INSTALLATION -- BILL OF MATERIALS
Project: Jeffrey Hanson - 7266 14th St N ¦ Generated: April 14, 2026 14:47
# | Description | Part Number | MFR | Qty | Unit | Notes
1 | system_name |  | MISC. | Jeffrey Hanson Residence - 11.61 kW DC Solar PV | EA
2 | address |  | MISC. | 7266 14th St N, St. Petersburg, FL 33702 | EA
3 | system_dc_watts |  | MISC. | 11610 | EA
4 | system_ac_watts |  | MISC. | 9423 | EA
5 | total_panels |  | MISC. | 27 | EA
6 | panel_model |  | MISC. | QCELLS Q.TRON BLK M-G2+/AC 430 | EA
7 | panel_wattage |  | MISC. | 430 | EA
8 | inverter_type |  | MISC. | qcells_integrated | EA
9 | inverter_model |  | MISC. | QCELLS Q.MI.349B-G1 | EA
10 | inverter_qty |  | MISC. | 27 | EA
11 | racking_brand |  | MISC. | IRONRIDGE | EA
12 | rail_model |  | MISC. | XR-10-168M | EA
13 | rail_sticks |  | MISC. | 18 | EA
14 | rail_feet_per_stick |  | MISC. | 14 | EA
15 | total_rail_feet |  | MISC. | 242 | EA
16 | attachment_model |  | MISC. | QM-HUG-01-M1 Halo UltraGrip | EA
17 | mounting_feet |  | MISC. | 54 | EA
18 | mid_clamps |  | MISC. | 50 | EA
19 | end_clamps |  | MISC. | 8 | EA
20 | splice_kits |  | MISC. | 2 | EA
21 | roof_type |  | MISC. | Asphalt Composite Shingle | EA
22 | roof_1_panels |  | MISC. | 13 | EA
23 | roof_2_panels |  | MISC. | 14 | EA
24 | num_strings |  | MISC. | 3 | EA
25 | has_fused_disconnect |  | MISC. | TRUE | EA
26 | ac_disconnect_amps |  | MISC. | 60 | EA
27 | ac_disconnect_fuses |  | MISC. | 2x 50A | EA
28 | main_service_panel |  | MISC. | 200A existing | EA
29 | combiner_panel |  | MISC. | Q CELLS Q.HOME COMBINER PANEL 80 G1 | EA
30 | combiner_breaker |  | MISC. | 15A 2P | EA
31 | wire_id_1 |  | MISC. | 10 THWN-2 40A 3/4 inch conduit | EA
32 | wire_id_2 |  | MISC. | 6 THWN-2 75A 3/4 inch conduit | EA
33 | wire_id_3 |  | MISC. | 6 THWN-2 75A 3/4 inch conduit | EA
34 | ground_wire |  | MISC. | 6 AWG Bare Copper | EA
35 | fire_setback_inches |  | MISC. | 36 | EA
36 | wind_speed_mph |  | MISC. | 150 | EA
37 | ground_snow_load_psf |  | MISC. | 3 | EA
38 | rapid_shutdown |  | MISC. | TRUE | EA
39 | bom_note_1 |  | MISC. | Integrated microinverter system 1 per module | EA
40 | bom_note_2 |  | MISC. | Fused AC disconnect 60A with 2x 50A fuses | EA
41 | bom_note_3 |  | MISC. | 3 strings of 9 microinverters each | EA
42 | bom_note_4 |  | MISC. | Load side interconnection no main panel upgrade | EA
43 | bom_note_5 |  | MISC. | Roof 1: 13 modules SW facing 250 azimuth 10 slope | EA
44 | bom_note_6 |  | MISC. | Roof 2: 14 modules ENE facing 70 azimuth 10 slope | EA
45 | bom_note_7 |  | MISC. | Both roofs 2x4 rafters 24 inches OC | EA
46 | bom_note_8 |  | MISC. | Attachment spacing 4 feet | EA
47 | bom_note_9 |  | MISC. | Fire setback 36 inches minimum from roof edges | EA
48 | bom_note_10 |  | MISC. | PE signed by D Chad Godwin PE 81360 Exp 02/28/2027 | EA

## Order Sheet
JEFFREY HANSON - 7266 14TH ST N -- SOLAR ORDER SHEET
Generated: April 14, 2026
Seq | MFR | Catalog # | Description | Qty
1 | MISC. |  | system_name | Jeffrey Hanson Residence - 11.61 kW DC Solar PV
2 | MISC. |  | address | 7266 14th St N, St. Petersburg, FL 33702
3 | MISC. |  | system_dc_watts | 11610
4 | MISC. |  | system_ac_watts | 9423
5 | MISC. |  | total_panels | 27
6 | MISC. |  | panel_model | QCELLS Q.TRON BLK M-G2+/AC 430
7 | MISC. |  | panel_wattage | 430
8 | MISC. |  | inverter_type | qcells_integrated
9 | MISC. |  | inverter_model | QCELLS Q.MI.349B-G1
10 | MISC. |  | inverter_qty | 27
11 | MISC. |  | racking_brand | IRONRIDGE
12 | MISC. |  | rail_model | XR-10-168M
13 | MISC. |  | rail_sticks | 18
14 | MISC. |  | rail_feet_per_stick | 14
15 | MISC. |  | total_rail_feet | 242
16 | MISC. |  | attachment_model | QM-HUG-01-M1 Halo UltraGrip
17 | MISC. |  | mounting_feet | 54
18 | MISC. |  | mid_clamps | 50
19 | MISC. |  | end_clamps | 8
20 | MISC. |  | splice_kits | 2
21 | MISC. |  | roof_type | Asphalt Composite Shingle
22 | MISC. |  | roof_1_panels | 13
23 | MISC. |  | roof_2_panels | 14
24 | MISC. |  | num_strings | 3
25 | MISC. |  | has_fused_disconnect | TRUE
26 | MISC. |  | ac_disconnect_amps | 60
27 | MISC. |  | ac_disconnect_fuses | 2x 50A
28 | MISC. |  | main_service_panel | 200A existing
29 | MISC. |  | combiner_panel | Q CELLS Q.HOME COMBINER PANEL 80 G1
30 | MISC. |  | combiner_breaker | 15A 2P
31 | MISC. |  | wire_id_1 | 10 THWN-2 40A 3/4 inch conduit
32 | MISC. |  | wire_id_2 | 6 THWN-2 75A 3/4 inch conduit
33 | MISC. |  | wire_id_3 | 6 THWN-2 75A 3/4 inch conduit
34 | MISC. |  | ground_wire | 6 AWG Bare Copper
35 | MISC. |  | fire_setback_inches | 36
36 | MISC. |  | wind_speed_mph | 150
37 | MISC. |  | ground_snow_load_psf | 3
38 | MISC. |  | rapid_shutdown | TRUE
39 | MISC. |  | bom_note_1 | Integrated microinverter system 1 per module
40 | MISC. |  | bom_note_2 | Fused AC disconnect 60A with 2x 50A fuses
41 | MISC. |  | bom_note_3 | 3 strings of 9 microinverters each
42 | MISC. |  | bom_note_4 | Load side interconnection no main panel upgrade
43 | MISC. |  | bom_note_5 | Roof 1: 13 modules SW facing 250 azimuth 10 slope
44 | MISC. |  | bom_note_6 | Roof 2: 14 modules ENE facing 70 azimuth 10 slope
45 | MISC. |  | bom_note_7 | Both roofs 2x4 rafters 24 inches OC
46 | MISC. |  | bom_note_8 | Attachment spacing 4 feet
47 | MISC. |  | bom_note_9 | Fire setback 36 inches minimum from roof edges
48 | MISC. |  | bom_note_10 | PE signed by D Chad Godwin PE 81360 Exp 02/28/2027
TOTAL LINE ITEMS: 48